## Endoscope Level A
Training Agenda
Service Training Production Line: Endoscopy system Level A - Basic Knowledge
Training | Day | Time | Training Topic | Training Content
General | Day 1 | 9:00AM ~ 10:20AM | Pre-test & Service Center Introduction | Service Center Introduction
pre-test
|  | 10:20AM ~ 10:40AM | Coffee break
|  | 10:40AM ~ 12:00PM | Basic knowledge of endoscopy system | Principle & Specification of Endoscope
Endoscopy UI interface
|  | 12:00PM ~ 1:30PM | Lunch time
|  |  | Basic knowledge of endoscopy system | Workflow of Endoscopy System
|  | 1:30PM ~ 3:00PM |  | Endoscopy UI System
|  | 3:00PM ~ 3:30PM | Coffee break
|  | 3:30PM ~ 5:30PM | Basic knowledge of endoscopy system | The installation of endoscopy system
Troubleshooting
General | Day 2 | 9:00AM ~ 10:20AM | Cleaning disinfection & sterilization | Pre-cleaning
Leakage test
|  | 10:20AM ~ 10:40AM | Coffee break
|  | 10:40AM ~ 12:00PM | Cleaning disinfection & sterilization | Manual cleaning
Risining
|  | 12:00PM ~ 1:30PM | Lunch
|  | 1:30PM ~ 3:00PM | Cleaning disinfection & sterilization | Disinfection & sterilization
|  | 3:00PM ~ 3:30PM | Coffee break
|  | 3:30PM ~ 5:30PM | Cleaning disinfection & sterilization | Drying & storage
General | Day 3 | 9:00AM ~ 10:20AM | Daily maintenance &spot inspection | Service Center Introduction
Pre-test
Principle & Specification of Endoscope
|  | 10:20AM ~ 10:40AM | Coffee break
|  | 10:40AM ~ 12:00PM | Daily maintenance &spot inspection | Workflow of Endoscopy System
Endoscopy Software System
Troubleshooting
|  | 12:00PM ~ 1:30PM | Lunch
|  | 1:30PM ~ 3:00PM | Fault judgement for endoscope
|  | 3:00PM ~ 3:30PM | Coffee break
|  | 3:30PM ~ 5:30PM | Fault judgement for endoscope
Test | Day 4 | 9:00AM ~ 10:20AM | Q & A
|  | 10:20AM ~ 10:40AM | Coffee break
|  | 10:40AM ~ 12:00PM | Paper test for A level training
|  | 12:00PM ~ 1:30PM | Lunch
|  | 1:30PM ~ 3:00PM | Oral test for A level training
|  | 3:00PM ~ 3:30PM | Coffee break
|  | 3:30PM ~ 5:30PM | The explanation of paper test & awarding certificates
Note: 1. The agenda could be adjusted according to training application. 2. General is open for all the applicants, while Professional is only open for Service Engineers.

## Endoscope Level B1
Training Agenda
Service Training Production Line: Endoscopy system Level B1
Training | Day | Time | Training Topic | Training Content
Professional | Day 1 | 9:00AM ~ 10:20AM | Replacing the bending rubber | Faulty identification
|  | 10:20AM ~ 10:40AM | Coffee break
|  | 10:40AM ~ 12:00PM | Replacing the bending rubber | Maintenance
|  | 12:00PM ~ 1:30PM | Lunch time
|  | 1:30PM ~ 3:00PM | Replacing the bending rubber | Maintenance
|  | 3:00PM ~ 3:30PM | Coffee break
|  | 3:30PM ~ 5:30PM | Replacing the bending rubber | Test
Professional | Day 2 | 9:00AM ~ 10:20AM | Replace Knob Assembly | Maintenance
|  | 10:20AM ~ 10:40AM | Coffee break
|  | 10:40AM ~ 12:00PM | Test for Replace Knob Assembly | Maintenance
|  | 12:00PM ~ 1:30PM | Lunch
|  | 1:30PM ~ 3:00PM | Replace "0" Button | Maintenance
|  | 3:00PM ~ 3:30PM | Coffee break
|  | 3:30PM ~ 5:30PM | Replace "1/2/3" Button | Test
Professional | Day 3 | 9:00AM ~ 10:20AM | Adjust The Angulation | Maintenance
|  | 10:20AM ~ 10:40AM | Coffee break
|  | 10:40AM ~ 12:00PM | Adjust The Angulation Free Play | Maintenance
|  | 12:00PM ~ 1:30PM | Lunch
|  | 1:30PM ~ 3:00PM | Adjust The Angulation Free Play | Maintenance
|  | 3:00PM ~ 3:30PM | Coffee break
|  | 3:30PM ~ 5:30PM | Adjust The Angulation Free Play | Test
Professional | Day 4 | 9:00AM ~ 10:20AM | Test for Replacing the bending rubber | Maintenance
|  | 10:20AM ~ 10:40AM | Coffee break
|  | 10:40AM ~ 12:00PM | Test for Replacing the bending rubber | Maintenance
|  | 12:00PM ~ 1:30PM | Lunch
|  | 1:30PM ~ 3:00PM | Test for Replacing the bending rubber | Maintenance
|  | 3:00PM ~ 3:30PM | Coffee break
|  | 3:30PM ~ 5:30PM | Test for Replacing the bending rubber | Test
Professional | Day 5 | 9:00AM ~ 10:20AM | Replacing the nozzle | Maintenance
|  | 10:20AM ~ 10:40AM | Coffee break
|  | 10:40AM ~ 12:00PM | Cleaning the air-water tube | Maintenance
|  | 12:00PM ~ 1:30PM | Lunch
|  | 1:30PM ~ 3:00PM | Apply The Distal End Glue | Maintenance
|  | 3:00PM ~ 3:30PM | Coffee break
|  | 3:30PM ~ 5:30PM | Apply The Distal End Glue | Test
Note: 1. The agenda could be adjusted according to training application. 2. General is open for all the applicants, while Professional is only open for Service Engineers.

## Endoscope Level B2
Training Agenda
Service Training Production Line: Endoscopy system Level B2
Training | Day | Time | Training Topic | Training Content
Professional | Day 1 | 9:00AM ~ 10:20AM | Replace Light Guide Connector Base Assembly | Faulty identification
|  | 10:20AM ~ 10:40AM | Coffee break
|  | 10:40AM ~ 12:00PM | Replace Light Guide Fiber Cap | Maintenance
|  | 12:00PM ~ 1:30PM | Lunch time
|  | 1:30PM ~ 3:00PM | Replace A/W Valve Assembly | Maintenance
|  | 3:00PM ~ 3:30PM | Coffee break
|  | 3:30PM ~ 5:30PM | Replace Instrument Channel Valve Assembly | Test
Professional | Day 2 | 9:00AM ~ 10:20AM | Replace Light Guide Lens | Maintenance
|  | 10:20AM ~ 10:40AM | Coffee break
|  | 10:40AM ~ 12:00PM | Replace Light Guide Lens | Maintenance
|  | 12:00PM ~ 1:30PM | Lunch
|  | 1:30PM ~ 3:00PM | Replace Distal End Cover | Maintenance
|  | 3:00PM ~ 3:30PM | Coffee break
|  | 3:30PM ~ 5:30PM | Replace Distal End Cover | Test
Professional | Day 3 | 9:00AM ~ 10:20AM | Replace Biopsy Channel | Maintenance
|  | 10:20AM ~ 10:40AM | Coffee break
|  | 10:40AM ~ 12:00PM | Replace Biopsy Channel | Maintenance
|  | 12:00PM ~ 1:30PM | Lunch
|  | 1:30PM ~ 3:00PM | Replace Biopsy Channel | Maintenance
|  | 3:00PM ~ 3:30PM | Coffee break
|  | 3:30PM ~ 5:30PM | Replace Biopsy Channel | Test
Professional | Day 4 | 9:00AM ~ 10:20AM | Replace Biopsy Channel | Maintenance
|  | 10:20AM ~ 10:40AM | Coffee break
|  | 10:40AM ~ 12:00PM | Replace Biopsy Channel | Maintenance
|  | 12:00PM ~ 1:30PM | Lunch
|  | 1:30PM ~ 3:00PM | Replace Biopsy Channel | Maintenance
|  | 3:00PM ~ 3:30PM | Coffee break
|  | 3:30PM ~ 5:30PM | Test for Replacing the instrument tube | Test
Professional | Day 5 | 9:00AM ~ 10:20AM | Test for Replacing the instrument tube | Maintenance
|  | 10:20AM ~ 10:40AM | Coffee break
|  | 10:40AM ~ 12:00PM | Test for Replacing the instrument tube | Maintenance
|  | 12:00PM ~ 1:30PM | Lunch
|  | 1:30PM ~ 3:00PM | Test for Replacing the instrument tube | Maintenance
|  | 3:00PM ~ 3:30PM | Coffee break
|  | 3:30PM ~ 5:30PM | Test for Replacing the instrument tube | Test
Note: 1. The agenda could be adjusted according to training application. 2. General is open for all the applicants, while Professional is only open for Service Engineers.