## Endoscope Training Agenda
Training Agenda
Service Training Production Line: Endoscopy System Level A (Endoscope, 500 & 550 Series)
Training | Date | Day | Time | Training Topic | Course
Online | please contact with our Sales/Service engineer | Day 1 | 9:00AM ~ 9:15AM | Service Introduction | Service Introduction
|  |  | 9:15AM ~ 10:45AM | Endoscope Structure & Theory | Endoscope
|  |  | 11:00AM ~ 12:00PM | Cleaning,Disinfection,Sterilization | Endoscope
|  |  | 12:00PM ~ 2:00PM | Lunch time
|  |  | 2:00PM ~ 2:40PM | Demonstration of Cleaning,Disinfection,Sterilization | Endoscope
|  |  | 2:40PM ~ 3:10PM | Review and Q&A | Endoscope
|  |  | 3:20PM ~ 4:20PM | Spot Inspection | Endoscope
|  |  | 4:20PM ~ 5:00PM | Demonstration of Spot Inspection | Endoscope
|  |  | 5:00PM ~ 5:30PM | Review and Q&A | Endoscope
Online | please contact with our Sales/Service engineer | Day 2 | 9:00AM ~ 10:10AM | System Overview/Software | 500 Series
|  |  | 10:20AM ~ 11:30AM | Hardware/Troubleshooting/Disassembly | 500 Series
|  |  | 11:30AM ~ 12:00PM | Review and Q&A | 500 Series
Online | please contact with our Sales/Service engineer | Day 3 | 9:00AM ~ 10:10AM | System Overview/Software | 550 Series
|  |  | 10:20AM ~ 11:30AM | Hardware/Troubleshooting/Disassembly | 550 Series
|  |  | 11:30AM ~ 12:00PM | Review and Q&A | 550 Series
Online | 19th November 2020 | Day 4
|  |  | 12:00PM ~ 2:00PM | Lunch time
Online | please contact with our Sales/Service engineer | Day 1 ~7 | All Day | Online Test | Test
Note: Online Test will be available after end of each training (China Beijing Time)
Note: 1. The agenda could be adjusted according to training application. 2. General is open for all the applicants, while Professional is only open for Service Engineers.